## Configuration
Usernames | Lookback Number Of Days | Include Exceptions
JHINTZE | 200 | Y
LVANSCHOYCK
ROLSEN
NMAYS

## Queries
System Valve UC | System Valve Active | Mains UC | Mains Active | Fitting UC | Fitting Active | Hydrant UC | Hydrant Active | Large Meter UC | Large Meter Active
(Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or VALVETYPE IS NULL Or DIAMETER IS NULL Or CLOCKTOCLOSE IS NOT NULL Or NORMALLYOPEN = 1 Or OPERABLE = 1 Or HYDRFLAG = 1 Or CURROPEN = 1 Or VALVELOCATION IS NOT NULL Or ACTIVEFLAG = 1 Or RECDRAW <> 'No' Or TURNSTOCLOSE <> 0 Or PROJ_UPDATE IS NOT NULL)) Or (Status = 'Abandoned') Or (STATUS IS NULL) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or VALVETYPE IS NULL Or DIAMETER IS NULL Or (ACTIVEFLAG = 1 And BYPASSVALVE = 0) Or (ACTIVEFLAG = 1 And CLOCKTOCLOSE = 0) Or (ACTIVEFLAG = 1 And NORMALLYOPEN = 0) Or OPERABLE = 0 Or (CREATIONDATE >= '{}' And HYDRFLAG = 0) Or CURROPEN = 0 Or ACTIVEFLAG = 0 Or (PROJ_NAME IS NOT NULL And RECDRAW = 'No'))) | (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or LINETYPE <> 'UNK' Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or RECDRAW <> 'No' Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')))) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or LINETYPE IS NULL Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')))) Or (STATUS IS NULL) OR (STATUS = 'Abandoned') | (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or RECDRAW IS NOT NULL)) Or (Status = 'Abandoned') Or (STATUS IS NULL) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL))) | (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or RECDRAW <> 'No' Or PROJ_UPDATE IS NOT NULL Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or CLOCKTOCLOSE IS NOT NULL Or TURNSTOCLOSE IS NOT NULL Or STREETNAME IS NULL)) Or (Status = 'Abandoned') Or (STATUS IS NULL) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or (ACTIVEFLAG = 1 And OPERABLE = 0) Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or (PROJ_NAME IS NOT NULL AND RECDRAW = 'No') Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or (CREATIONDATE >= '{}' And CLOCKTOCLOSE IS NULL) Or HYDRFLAG <> 0 Or BYPASSVALVE <> 2 Or (CREATIONDATE >= '{}' And STREETNAME IS NULL) Or (HYDRANT_TYPE = 2 And OUTLETS IS NOT NULL) Or (HYDRANT_TYPE = 2 And HOSE_CONN IS NOT NULL) Or (HYDRANT_TYPE = 2 And PUMPER_CONN IS NOT NULL) Or (CREATIONDATE >= '{}' And ELEVATION IS NULL) Or DEADEND IS NULL)) | (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or RECDRAW IS NOT NULL)) Or (Status = 'Abandoned') Or (STATUS IS NULL) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or (CREATIONDATE >= '{}' And METERTYPE IS NULL) Or (CREATIONDATE >= '{}' And SERVICE_ADDRESS IS NULL) Or (CREATIONDATE >= '{}' And METER_SIZE IS NULL) Or (PROJ_NAME IS NOT NULL And RECDRAW <> 'Yes')))

## wMain
| Syntax-Corrected QUERY UC | Syntax-Corrected QUERY Active | [5 empty] | FULL QUERY UC | FULL QUERY Active
| (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or LINETYPE <> 'UNK' Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or RECDRAW <> 'No' Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')))) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or LINETYPE IS NULL Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')))) Or (STATUS IS NULL) OR (STATUS = 'Abandoned') | [5 empty] | Status = 'Under Construction' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or LINETYPE <> 'UNK' Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or RECDRAW <> 'No' Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')) | Status = 'Active' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or LINETYPE IS NULL Or (CREATIONDATE >= '{}' And LENGTH IS NULL) Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) Or (DIAMETER IS NULL Or DIAMETER = 0) Or WATERTYPE IS NULL Or LATERAL IS NULL Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')) Or (STATUS IS NULL) OR (STATUS = 'Abandoned')
CREATIONDATE >= '{}' And
FIELD NAME | ALIAS | AUTO GENERATED SOURCE | MAINS |  |  | DOMAIN DRIVEN YES/NO | REMARKS | UC | Active | Abandoned | Independent
[5 empty] | Non-Text |  |  | Status = 'Under Construction' | Status = 'Active' | Status = 'Abandoned' | STATUS IS NULL OR STATUS = 'Abandoned'
|  |  | Under Construction | Active |  |  |  | And | And
OWNEDBY | Owned By | System Generated |  |  |  | Yes | Default set to "City of Tulsa"
MAINTANEDBY | Maintaned By | System Generated |  |  |  | Yes | Default set to "City of Tulsa"
PRESSUREZONE | Pressure Zone | Attribute Rule |  |  |  | Yes
PROJ_NAME | Project Name |  | *Can be null | *Can be null |  | No | *New Projects - PROJNAME Cannot be Null | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL)
ATLAS_PAGE | Atlas Page | Attribute Rule |  |  |  | No
STATUS | Status |  | Cannot be null | *Can be null |  | Yes | *New Projects - "STATUS" Cannot be Null | Or STATUS IS NULL | Or (CREATIONDATE >= '{}' And STATUS IS NULL)
INSTALLDATE | Install Date |  | Not Used | *Can be null | Y | No | *New Projects - "INSTALLDATE" Cannot be Null |  | Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
LASTUPDATE | Last Update | System Generated |  |  |  | No
LASTEDITOR | Last Editor | System Generated |  |  |  | No
LOCDESC | Location Description |  | Not Used | Not Used |  | No
STRUCTURE_ID | Structure ID |  | Not Used | Not Used |  | No
FACILITYID | Facility ID | Lucity Generated |  |  |  | No
LINETYPE | Line Type |  | Should be Unknown | Cannot be null |  | Yes | Lucity will not display Null. Should be Unknown. New projects should have type. | Or LINETYPE <> 'UNK' | Or LINETYPE IS NULL
LENGTH | Length |  | *Can be Null | *Can be null |  | No | *New Projects - "LENGTH" Cannot be Null | Or (CREATIONDATE >= '{}' And LENGTH IS NULL) | Or (CREATIONDATE >= '{}' And LENGTH IS NULL)
MATERIAL | Material |  | *Can be Null | *Can be Null |  | Yes | *New Projects - "MATERIAL" should be defined. Unknown is acceptable for UC and legacy | Or (CREATIONDATE >= '{}' And MATERIAL IS NULL) | Or (CREATIONDATE >= '{}' And MATERIAL IS NULL)
DIAMETER | Diameter |  | Cannot be null | Cannot be Null |  | Yes |  | Or (DIAMETER IS NULL Or DIAMETER = 0) | Or (DIAMETER IS NULL Or DIAMETER = 0)
WATERTYPE | Water Type |  | Cannot be null | Cannot be Null |  | Yes |  | Or WATERTYPE IS NULL | Or WATERTYPE IS NULL
TRANSMISS | Transmiss | Attribute Rule |  |  |  | Yes
ROUGHNESS | Roughness |  | Not Used | Not Used |  | No
MODELED | Modeled |  | Not Used | Not Used |  | Yes
MODEL_ID | Model ID |  | Not Used | Not Used |  | No
LUCITYAUTO_ID | Lucity Auto ID | Lucity Generated |  |  |  | No
ACTIVEFLAG | Active Flag | Attribute Rule |  |  |  | Yes | IF="STATUS" is "UNDER CONSTRUCTION" then "ACTIVEFLAG" is False / IF="STATUS" is "ACTIVE" then ACTIVEFLAG is True
RECDRAW | Record Drawing |  | Cannot be null | Can be Null |  | Yes |  | Or RECDRAW <> 'No'
GlobalID* | Global ID | System Generated |  |  |  | No
Enabled | Enabled | Attribute Rule |  |  |  | Yes
PROJ_UPDATE | Project Update |  | Not Used | Can be Null |  | No
LOCATORBALL | Locator Ball |  | Not Used | Can be Null |  | No
CREATOR | Creator | System Generated |  |  |  | No
CREATIONDATE | Creation Date | System Generated |  |  |  | No
LASTMODBY | Last Modified By | Attribute Rule |  |  |  | No
LASTSYNDATE | Last Sync Date | System Generated |  |  |  | No
LASTMODDATE | Last Modified Date | Attribute Rule |  |  |  | No
INLUCITY | In Lucity | System Generated |  |  |  | No
MAIN_FACILITYID |  |  | Not Used | Can be Null |  | No
ADDRESS |  |  | Not Used | Can be Null |  | No
LATERAL |  |  | Cannot be null | Cannot be Null |  | Yes | Default is set to = "Null" | Or LATERAL IS NULL | Or LATERAL IS NULL
SHAPE.STLength() | Shape | System Generated |  |  |  | No
[8 empty] | Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6) | Or ((LINETYPE = 'HYDRANT STUBS' Or LINETYPE = 'Hydrant') And DIAMETER <> 6)
[8 empty] | Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes')) | Or ((LINETYPE = 'Commercial' or LINETYPE = 'Industrial' or LINETYPE = 'Irrigation' or LINETYPE = 'Fire' or LINETYPE = 'Service' or LINETYPE = 'Domestic') And (OwnedBy <> 2 or MAINTBY <> 2 Or LATERAL <> 'Yes'))
Or (STATUS IS NULL) OR (STATUS = 'Abandoned')

## wFitting
| Syntax-Corrected QUERY UC | Syntax-Corrected QUERY Active |  |  |  |  | FULL QUERY UC | FULL QUERY Active
| (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or RECDRAW IS NOT NULL)) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL))) |  |  |  |  | Status = 'Under Construction' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or RECDRAW IS NOT NULL | Status = 'Active' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
CREATIONDATE >= '{}' And
FIELD NAME | ALIAS | AUTO GENERATED SOURCE | FITTINGS |  | DOMAIN DRIVEN YES/NO | REMARKS | UC | Active | Abandoned | Independent
[7 empty] | Status = 'Under Construction' | Status = 'Active' | Status = 'Abandoned' | STATUS IS NULL
|  |  | Under Construction | Active |  |  | And | And
OWNEDBY | Owned By | Attribute Rule |  |  | Yes | Default set to "City of Tulsa"
MAINTANEDBY | Maintaned By | Attribute Rule |  |  | Yes | Default set to "City of Tulsa"
PRESSUREZONE | Pressure Zone | Attribute Rule |  |  | Yes
PROJ_NAME | Project Name |  | *Can be null | *Can be null | No | *New Projects - PROJNAME Cannot be Null | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL)
ATLAS_PAGE | Atlas Page | Attribute Rule |  |  | No
STATUS | Status |  | Cannot be null | *Can be null | Yes | *New Projects - "STATUS" Cannot be Null | Or STATUS IS NULL | Or (CREATIONDATE >= '{}' And STATUS IS NULL)
INSTALLDATE | Install Date |  | Not Used | *Can be null | No | *New Projects - "INSTALLDATE" Cannot be Null |  | Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
LASTUPDATE | Last Update | Attribute Rule |  |  | No
LASTEDITOR | Last Editor | Attribute Rule |  |  | No
LOCDESC | Location Description |  | Not Used |  | No
STRUCTURE_ID | Structure ID |  | Not Used |  | No
FACILITYID | Facility ID | Lucity Generated |  |  | No
FITTINGTYPE | Fitting Type |  | Not Used |  | Yes
DIAMETER | Diameter |  | Not Used |  | Yes
ROTATION | Rotation |  | Not Used |  | No
MODELED | Modeled |  | Not Used |  | Yes
MODEL_ID | Model ID |  | Not Used |  | No
LUCITYAUTO_ID | Lucity Auto ID | Lucity Generated |  |  | No
ACTIVEFLAG | Active Flag | Attribute Rule |  |  | Yes | IF="STATUS" is "UNDER CONSTRUCTION" then "ACTIVEFLAG" is False / IF="STATUS" is "ACTIVE" then ACTIVEFLAG is True
RECDRAW | Record Drawing |  | Is Null | Can be Null | Yes |  | Or RECDRAW IS NOT NULL
GlobalID* | Global ID | System Generated |  |  | No
Enabled | Enabled | Attribute Rule |  |  | Yes
PROJ_UPDATE | Project Update |  | Not Used |  | No
CREATOR | Creator | Attribute Rule |  |  | No
CREATIONDATE | Creation Date | Attribute Rule |  |  | No
LASTMODBY | Last Modified By | Attribute Rule |  |  | No
LASTSYNDATE | Last Sync Date | Attribute Rule |  |  | No
LASTMODDATE | Last Modified Date | Attribute Rule |  |  | No
INLUCITY | In Lucity | Attribute Rule |  |  | No
SHAPE | Shape | System Generated |  |  | No

## wSystemValve
| Syntax-Formatted UC | Syntax-Formatted Active | [5 empty] | FULL QUERY UC | FULL QUERY Active
| (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or VALVETYPE IS NULL Or DIAMETER IS NULL Or CLOCKTOCLOSE IS NOT NULL Or NORMALLYOPEN = 1 Or OPERABLE = 1 Or HYDRFLAG = 1 Or CURROPEN = 1 Or VALVELOCATION IS NOT NULL Or ACTIVEFLAG = 1 Or RECDRAW <> 'No' Or TURNSTOCLOSE <> 0 Or PROJ_UPDATE IS NOT NULL)) Or (Status = 'Abandoned') Or (STATUS IS NULL) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or VALVETYPE IS NULL Or DIAMETER IS NULL Or (ACTIVEFLAG = 1 And BYPASSVALVE = 0) Or (ACTIVEFLAG = 1 And CLOCKTOCLOSE = 0) Or (ACTIVEFLAG = 1 And NORMALLYOPEN = 0) Or OPERABLE = 0 Or (CREATIONDATE >= '{}' And HYDRFLAG = 0) Or CURROPEN = 0 Or ACTIVEFLAG = 0 Or (PROJ_NAME IS NOT NULL And RECDRAW = 'No'))) | [5 empty] | Status = 'Under Construction' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or VALVETYPE IS NULL Or DIAMETER IS NULL Or CLOCKTOCLOSE IS NOT NULL Or NORMALLYOPEN = 1 Or OPERABLE = 1 Or HYDRFLAG = 1 Or CURROPEN = 1 Or VALVELOCATION IS NOT NULL Or ACTIVEFLAG = 1 Or RECDRAW <> 'No' Or TURNSTOCLOSE <> 0 Or PROJ_UPDATE IS NOT NULL | Status = 'Active' And (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or VALVETYPE IS NULL Or DIAMETER IS NULL Or (ACTIVEFLAG = 1 And BYPASSVALVE = 0) Or (ACTIVEFLAG = 1 And CLOCKTOCLOSE = 0) Or (ACTIVEFLAG = 1 And NORMALLYOPEN = 0) Or OPERABLE = 0 Or (CREATIONDATE >= '"+editdate+"' And HYDRFLAG = 0) Or CURROPEN = 0 Or ACTIVEFLAG = 0 Or (PROJ_NAME IS NOT NULL And RECDRAW = 'No')
CREATIONDATE >= '{}' And
FIELD NAME | ALIAS | AUTO GENERATED SOURCE | VALVES |  |  | DOMAIN DRIVEN YES/NO | REMARKS | UC | Active | Abandoned | Independent
[5 empty] | Non-Text |  |  | Status = 'Under Construction' | Status = 'Active' | Status = 'Abandoned' | STATUS IS NULL
|  |  | Under Construction | Active |  |  |  | And | And
OWNEDBY | Owned By | Attribute Rule |  |  |  | Yes | Default set to "City of Tulsa"
MAINTANEDBY | Maintaned By | Attribute Rule |  |  |  | Yes | Default set to "City of Tulsa"
PRESSUREZONE | Pressure Zone | Attribute Rule |  |  |  | Yes
PROJ_NAME | Project Name |  | *Can Be Null | *Can Be Null |  | No | New Projects - PROJNAME Cannot be Null | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) | (CREATIONDATE >= '{}' And PROJ_NAME IS NULL)
ATLAS_PAGE | Atlas Page | Attribute Rule |  |  |  | No
STATUS | Status |  | Cannot be Null | Cannot be Null |  | Yes |  | Or STATUS IS NULL | Or STATUS IS NULL
INSTALLDATE | Install Date |  | Is Null | *Can Be Null | Y | No | *New Construction - "STATUS" = "ACTIVE"- Cannot be Null | Or INSTALLDATE IS NOT NULL | Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
LASTUPDATE | Last Update | Attribute Rule |  |  |  | No
LASTEDITOR | Last Editor | Attribute Rule |  |  |  | No
LOCDESC | Location Description |  | Can Be Null | Can Be Null |  | No
STRUCTURE_ID | Structure ID |  | Can Be Null | Can Be Null |  | No
FACILITYID | Facility ID | Lucity Generated |  |  |  | No
VALVETYPE | Valve Type |  | Cannot be Null | Cannot be Null |  | Yes |  | Or VALVETYPE IS NULL | Or VALVETYPE IS NULL
DIAMETER | Diameter |  | Cannot be Null | Cannot be Null | Y | Yes |  | Or DIAMETER IS NULL | Or DIAMETER IS NULL
ROTATION | Rotation |  | Can Be Null | Can Be Null |  | No
BYPASSVALVE | By Pass Valve |  | Can Be Null | Cannot be Null | Y | Yes | IF=ACTIVEFLAG is True then BYPASSVALVE is True |  | Or (ACTIVEFLAG = 1 And BYPASSVALVE = 0)
CLOCKTOCLOSE | Clock to Close |  | Is Null | Cannot be Null | Y | Yes | IF=ACTIVEFLAG is True then CLOCKTOCLOSE is True | Or CLOCKTOCLOSE IS NOT NULL | Or (ACTIVEFLAG = 1 And CLOCKTOCLOSE = 0)
NORMALLYOPEN | Normally Open | Attribute Rule | Is Null | Cannot be Null | Y | Yes | IF=ACTIVEFLAG is True then NORMALLYOPEN is True | Or NORMALLYOPEN = 1 | Or (ACTIVEFLAG = 1 And NORMALLYOPEN = 0)
OPERABLE | Operable | Attribute Rule | Is Null | Cannot be Null | Y | Yes | IF=ACTIVEFLAG is True then OPERABLE is True | Or OPERABLE = 1 | Or OPERABLE = 0
HYDRFLAG | Hydrant Flag |  | Is Null | *Can Be Null | Y | Yes | *New Construction - "STATUS" = "ACTIVE"- Cannot be Null | Or HYDRFLAG = 1 | Or (CREATIONDATE >= '"+editdate+"' And HYDRFLAG = 0)
CURROPEN | Currently Open |  | Is Null | Cannot be Null | Y | Yes | IF=ACTIVEFLAG is True then CURROPEN is True | Or CURROPEN = 1 | Or CURROPEN = 0
DEPTH | Depth |  | Can Be Null | Can Be Null | Y | No
ELEVATION | Elevation |  | Can Be Null | Cannot be Null | Y | No
MODELED | Modeled |  |  |  |  | Yes | Attribute is not Used
MODEL_ID | Model ID |  |  |  |  | No | Attribute is not Used
LUCITYAUTO_ID | Lucity Auto ID | Lucity Generated |  |  |  | No
VALVELOCATION | Valve Location |  | Is Null | Can Be Null |  | No | Information is Generated from Valve Report | Or VALVELOCATION IS NOT NULL
ACTIVEFLAG | Active Flag | Attribute Rule |  |  | Y | Yes | IF="STATUS" is "UNDER CONSTRUCTION" then "ACTIVEFLAG" is False / IF="STATUS" is "ACTIVE" then ACTIVEFLAG is True | Or ACTIVEFLAG = 1 | Or ACTIVEFLAG = 0
RECDRAW | Record Drawing |  | Is Null | Can Be Null | Y | Yes | IF=PROJ_NAME is not null then RECDRAW is True | Or RECDRAW <> 'No' | Or (PROJ_NAME IS NOT NULL And RECDRAW = 'No')
GlobalID* | Global ID | System Generated |  |  |  | No
Enabled | Enabled | Attribute Rule |  |  |  | Yes
TURNSTOCLOSE | Turns to Close |  | Is Null | Can Be Null | Y | No | Information is Generated from Valve Report | Or TURNSTOCLOSE <> 0
PROJ_UPDATE | Project Update |  | Is Null | Can Be Null |  | No |  | Or PROJ_UPDATE IS NOT NULL
CREATOR | Creator | Attribute Rule |  |  |  | No
CREATIONDATE | Creation Date | Attribute Rule |  |  |  | No
LASTMODBY | Last Modified By | Attribute Rule |  |  |  | No
LASTSYNDATE | Last Sync Date | Attribute Rule |  |  |  | No
LASTMODDATE | Last Modified Date | Attribute Rule |  |  |  | No
INLUCITY | In Lucity | Attribute Rule |  |  |  | No
SHAPE | Shape | System Generated |  |  |  | No
Note on J13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STATUS is used to classify the QC items by Active & UC (etc.). As such, one seaparate query should be applied to search for NULL STATUS assets.

## wHydrant
Active
| (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or RECDRAW <> 'No' Or PROJ_UPDATE IS NOT NULL Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or CLOCKTOCLOSE IS NOT NULL Or TURNSTOCLOSE IS NOT NULL Or STREETNAME IS NULL)) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or (ACTIVEFLAG = 1 And OPERABLE = 0) Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or (PROJ_NAME IS NOT NULL AND RECDRAW = 'No') Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or (CREATIONDATE >= '{}' And CLOCKTOCLOSE IS NULL) Or HYDRFLAG <> 0 Or BYPASSVALVE <> 2 Or (CREATIONDATE >= '{}' And STREETNAME IS NULL) Or (HYDRANT_TYPE = 2 And OUTLETS IS NOT NULL) Or (HYDRANT_TYPE = 2 And HOSE_CONN IS NOT NULL) Or (HYDRANT_TYPE = 2 And PUMPER_CONN IS NOT NULL) Or (CREATIONDATE >= '{}' And ELEVATION IS NULL) Or DEADEND IS NULL)) |  |  |  |  | Status = 'Under Construction' And Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or OPERABLE <> 0 Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or RECDRAW <> 'No' Or PROJ_UPDATE IS NOT NULL Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or CLOCKTOCLOSE IS NOT NULL Or TURNSTOCLOSE IS NOT NULL Or STREETNAME IS NULL | Status = 'Active' And Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or HYDRANT_TYPE = 99 Or (DIAMETER = -1 Or DIAMETER = 0) Or (ACTIVEFLAG = 1 And OPERABLE = 0) Or LASTSERVICE IS NOT NULL Or FLOW <> 0 Or (PROJ_NAME IS NOT NULL AND RECDRAW = 'No') Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) Or NORMALLYOPEN <> 0 Or CURROPEN <> 0 Or (CREATIONDATE >= '{}' And CLOCKTOCLOSE IS NULL) Or HYDRFLAG <> 0 Or BYPASSVALVE <> 2 Or (CREATIONDATE >= '{}' And STREETNAME IS NULL) Or (HYDRANT_TYPE = 2 And OUTLETS IS NOT NULL) Or (HYDRANT_TYPE = 2 And HOSE_CONN IS NOT NULL) Or (HYDRANT_TYPE = 2 And PUMPER_CONN IS NOT NULL) Or (CREATIONDATE >= '{}' And ELEVATION IS NULL) Or DEADEND IS NULL
CREATIONDATE >= '{}' And
FIELD NAME | ALIAS | AUTO GENERATED SOURCE | Hydrants |  | DOMAIN DRIVEN YES/NO | REMARKS | UC | Active | Abandoned | Independent
[7 empty] | Status = 'Under Construction' | Status = 'Active' | Status = 'Abandoned' | STATUS IS NULL
|  |  | Under Construction | Active |  |  | And | And
OWNEDBY | Owned By | Attribute Rule |  |  | Yes | Default set to "City of Tulsa"
MAINTANEDBY | Maintaned By | Attribute Rule |  |  | Yes | Default set to "City of Tulsa"
PRESSUREZONE | Pressure Zone | Attribute Rule |  |  | Yes
PROJ_NAME | Project Name |  | *Can Be Null | *Can Be Null | No | New Projects - PROJNAME Cannot be Null | Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) | Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL)
ATLAS_PAGE | Atlas Page | Attribute Rule |  |  | No
STATUS | Status |  | Cannot be Null | Cannot be Null | Yes |  | Or STATUS IS NULL | Or STATUS IS NULL
INSTALLDATE | Install Date |  | Is Null | *Can Be Null | No | *New Construction - "STATUS" = "ACTIVE"- Cannot be Null | Or INSTALLDATE IS NOT NULL | Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
LASTUPDATE | Last Update | Attribute Rule |  |  | No
LASTEDITOR | Last Editor | Attribute Rule |  |  | No
LOCDESC | Location Description |  | Can Be Null | Can Be Null | No
STRUCTURE_ID | Structure ID |  | Can Be Null | Can Be Null | No
FACILITYID | Facility ID | Lucity Generated |  |  | No
HYDRANTTYPE | Hydrant Type |  | Cannot be Null | Cannot be Null | Yes |  | Or HYDRANT_TYPE = 99 | Or HYDRANT_TYPE = 99
DIAMETER | Diameter |  | Cannot be Null | Cannot be Null | Yes |  | Or (DIAMETER = -1 Or DIAMETER = 0) | Or (DIAMETER = -1 Or DIAMETER = 0)
ROTATION | Rotation |  | Can Be Null | Can Be Null | No
MANUFACTURER | Manufacturer
OPERABLE | Operable | Attribute Rule | Is Null | Cannot be Null | Yes | IF=ACTIVEFLAG is True then OPERABLE is True | Or OPERABLE <> 0 | Or (ACTIVEFLAG = 1 And OPERABLE = 0)
LASTSERVICE | Last Service |  | Is Null | Is Null | No | Field is for Fire Department/Water Distribution Use | Or LASTSERVICE IS NOT NULL | Or LASTSERVICE IS NOT NULL
FLOW | Flow |  | Is Null | Is Null | No |  | Or FLOW <> 0 | Or FLOW <> 0
MODELED | Modeled |  | Is Null | Is Null | Yes | Attribute is not Used
MODEL_ID | Model ID |  | Is Null | Is Null | No | Attribute is not Used
LUCITYAUTO_ID | Lucity Auto ID | Lucity Generated |  |  | No
ACTIVEFLAG | Active Flag | Attribute Rule |  |  | Yes | IF="STATUS" is "UNDER CONSTRUCTION" then "ACTIVEFLAG" is False / IF="STATUS" is "ACTIVE" then ACTIVEFLAG is True
RECDRAW | Record Drawing |  | Is Null | Can Be Null | Yes | IF=PROJ_NAME is not null then RECDRAW is True | Or RECDRAW <> 'No' | Or (PROJ_NAME IS NOT NULL AND RECDRAW = 'No')
GlobalID* | Global ID | System Generated |  |  | No
Enabled | Enabled | Attribute Rule |  |  | Yes
PROJ_UPDATE | Project Update |  | Is Null | Can Be Null | No |  | Or PROJ_UPDATE IS NOT NULL
VALVETYPE | Valve Type |  | *Can be Null | *Can be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then VALVETYPE cannot be Null | Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV')) | Or (HYDRANT_TYPE <> 2 And VALVETYPE IS NOT NULL) Or ((VALVETYPE <> 'BV' And HYDRANT_TYPE = 2) And (HYDRANT_TYPE = 2 And VALVETYPE <> 'GV'))
VALVELOCATION | Valve Location |  |  |  | No | *New Construction - IF HYDRANTTYPE = Blowoff then VALVELOC can be Null
NORMALLYOPEN | Normally Open | Attribute Rule | Is Null | *Cannot be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then NORMALLYOPEN is "TRUE" | Or NORMALLYOPEN <> 0 | Or NORMALLYOPEN <> 0
CURROPEN | Currently Open | Attribute Rule | Is Null | Cannot be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then CURRENTLYOPEN is "TRUE" | Or CURROPEN <> 0 | Or CURROPEN <> 0
CLOCKTOCLOSE | Clock to Close | Attribute Rule | Is Null | Cannot be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then CLOCKTOCLOSE is "TRUE" | Or CLOCKTOCLOSE IS NOT NULL | Or (CREATIONDATE >= '{}' And CLOCKTOCLOSE IS NULL)
HYDRFLAG | Hydrant Flag | Attribute Rule | Is Null | *Can Be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then HYDRFLAG is "TRUE" |  | Or HYDRFLAG <> 0
BYPASSVALVE | By Pass Valve | Attribute Rule | Can Be Null | Cannot be Null | Yes | *New Construction - IF HYDRANTTYPE = Blowoff then BYPASSVALVE is "TRUE" |  | Or BYPASSVALVE <> 2
TURNSTOCLOSE | Turns to Close |  | Is Null | Can Be Null | No | *New Construction - IF HYDRANTTYPE = Blowoff then TURNSTOCLOSE (if not provided) is 3 X VALVEDIAMETER + 3 | Or TURNSTOCLOSE IS NOT NULL
STATION | Station | Attribute Rule |  |  | Yes | Based off Fire Station Response Feature Class
ADDRNUM | Address Number | Attribute Rule |  |  | No | Based off Accessor Data
STREETNAME | Street Name | Attribute Rule | Cannot be Null | *Can Be Null | Yes | Based off Accessor Data | Or STREETNAME IS NULL | Or (CREATIONDATE >= '{}' And STREETNAME IS NULL)
OUTLETS | Outlets |  | Can Be Null | *Can Be Null |  | If HYDRANTTYPE = Blowoff OUTLETS is Null |  | Or (HYDRANT_TYPE = 2 And OUTLETS IS NOT NULL)
HOSE_CONN | Hose Connections |  | Can Be Null | *Can Be Null |  | If HYDRANTTYPE = Blowoff HOSE_CONN is Null |  | Or (HYDRANT_TYPE = 2 And HOSE_CONN IS NOT NULL)
PUMPER_CONN | Pumper Connections |  | Can Be Null | *Can Be Null |  | If HYDRANTTYPE = Blowoff PUMPER_CONN is Null |  | Or (HYDRANT_TYPE = 2 And PUMPER_CONN IS NOT NULL)
ELEVATION | Elevation |  | Can Be Null | *Can Be Null |  |  |  | Or (CREATIONDATE >= '{}' And ELEVATION IS NULL)
DEADEND | Deadend |  | Can Be Null | Cannot be Null |  |  |  | Or DEADEND IS NULL
CREATOR | Creator | Attribute Rule |  |  | No
CREATIONDATE | Creation Date | Attribute Rule |  |  | No
LASTMODBY | Last Modified By | Attribute Rule |  |  | No
LASTSYNDATE | Last Sync Date | Attribute Rule |  |  | No
LASTMODDATE | Last Modified Date | Attribute Rule |  |  | No
INLUCITY | In Lucity | Attribute Rule |  |  | No
Note on I25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Currently (2022-06-21) there are 117 <Null> values for Active Hydrants

## wLargeMeter
| UC | Active
| (Status = 'Under Construction' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or RECDRAW IS NOT NULL)) | (Status = 'Active' And ((CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or (CREATIONDATE >= '{}' And METERTYPE IS NULL) Or (CREATIONDATE >= '{}' And SERVICE_ADDRESS IS NULL) Or (CREATIONDATE >= '{}' And METER_SIZE IS NULL) Or (PROJ_NAME IS NOT NULL And RECDRAW <> 'Yes'))) |  |  |  |  | Status = 'Under Construction' And Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or INSTALLDATE IS NOT NULL Or RECDRAW IS NOT NULL | Status = 'Active' And Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL) Or (CREATIONDATE >= '{}' And METERTYPE IS NULL) Or (CREATIONDATE >= '{}' And SERVICE_ADDRESS IS NULL) Or (CREATIONDATE >= '{}' And METER_SIZE IS NULL) Or (PROJ_NAME IS NOT NULL And RECDRAW <> 'Yes')
CREATIONDATE >= '{}' And
FIELD NAME | ALIAS | AUTO GENERATED SOURCE | wLargeMeter |  | DOMAIN DRIVEN YES/NO | REMARKS | UC | Active | Abandoned | Independent
[7 empty] | Status = 'Under Construction' | Status = 'Active' | Status = 'Abandoned' | STATUS IS NULL OR STATUS = 'Abandoned'
|  |  | Under Construction | Active |  |  | And | And
OBJECTID | OBJECTID | System Generated |  |  | No
OWNEDBY | OWNEDBY | Attribute Rule already in place |  |  | Yes | Default set to "City of Tulsa"
MAINTANEDBY | MAINTANEDBY | Attribute Rule already in place |  |  | Yes | Default set to "City of Tulsa"
PRESSUREZONE | PRESSUREZONE | Attribute Rule already in place |  |  | Yes
PROJ_NAME | PROJ_NAME |  | *Can Be Null | *Can Be Null | No | *New Projects (new inserts) PROJNAME Cannot be Null ; 201 features are currrently '' (blank; not null) for unkown reasons. The old (preransomware) blank ('') features are ashowing up on Lucity Asset Management and on the Eng online atlas. | Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL) | Or (CREATIONDATE >= '{}' And PROJ_NAME IS NULL)
ATLAS_PAGE | ATLAS_PAGE | Attribute Rule already in place |  |  | No
STATUS | STATUS |  | Cannot be Null | Cannot be Null | Yes |  | Or STATUS IS NULL | Or STATUS IS NULL
INSTALLDATE | INSTALLDATE |  | Is Null | *Can be Null | No | *New Projects (new inserts) where "STATUS" = "ACTIVE" Cannot be Null | Or INSTALLDATE IS NOT NULL | Or (CREATIONDATE >= '{}' And INSTALLDATE IS NULL)
LASTUPDATE | LASTUPDATE | Attribute Rule already in place |  |  | No
LASTEDITOR | LASTEDITOR | Attribute Rule already in place |  |  | No
LOCDESC | LOCDESC |  | Can be Null | Can be Null | No
STRUCTURE_ID | STRUCTURE_ID |  | Can be Null | Can be Null | No
FACILITYID |  | Lucity Generated |  |  | No
METERTYPE | METERTYPE |  | Can be Null | *Can be Null | Yes | *New Projects (new inserts) where "STATUS" = "ACTIVE" Cannot be Null |  | Or (CREATIONDATE >= '{}' And METERTYPE IS NULL)
CUSTOMER_NAME | CUSTOMER_NAME |  | Can be Null | Can be Null | No
ACCOUNT | ACCOUNT |  | Can be Null | Can be Null | No
SERVICE_ADDRESS | SERVICE_ADDRESS |  | Can be Null | *Can be Null | No | *New Projects (new inserts) where "STATUS" = "ACTIVE" Cannot be Null |  | Or (CREATIONDATE >= '{}' And SERVICE_ADDRESS IS NULL)
METER_NOTE | METER_NOTE |  | Can be Null | Can be Null | No
ACTIVEFLAG | ACTIVEFLAG | Attribute Rule already in place |  |  | Yes | IF="STATUS" is "UNDER CONSTRUCTION" then "ACTIVEFLAG" is False / IF="STATUS" is "ACTIVE" then ACTIVEFLAG is True
METER_SIZE | METER_SIZE |  | Can be Null | *Can be Null | Yes | *New Projects (new inserts) where "STATUS" = "ACTIVE" Cannot be Null ; (For future developing of rules, we might explore: If all wMains intersecting this feature have same diameter as each other, then METER_SIZE = (shared value of diameter of intersecting wMains) |  | Or (CREATIONDATE >= '{}' And METER_SIZE IS NULL)
LUCITYAUTO_ID | LUCITYAUTO_ID | Lucity Generated |  |  | No
RECDRAW | RECDRAW |  | Is Null | Can Be Null | Yes | IF=PROJ_NAME is not null then RECDRAW is True | Or RECDRAW IS NOT NULL | Or (PROJ_NAME IS NOT NULL And RECDRAW <> 'Yes')
GlobalID | GlobalID | System Generated |  |  | No
Enabled | Enabled |  |  |  | Yes
PROJ_UPDATE | PROJ_UPDATE |  | Can be Null | Can be Null | No
CREATOR | CREATOR | Attribute Rule already in place |  |  | No
CREATIONDATE | CREATIONDATE | Attribute Rule already in place |  |  | No
LASTMODBY | LASTMODBY | Attribute Rule already in place |  |  | No
LASTSYNDATE | LASTSYNDATE | Attribute Rule already in place |  |  | No
LASTMODDATE | LASTMODDATE | Attribute Rule already in place |  |  | No
INLUCITY | INLUCITY |  | Can be Null | Can be Null | No | Not Used
SHAPE | SHAPE | System Generated |  |  | No